## ENTER DATA HERE
Off-grid power needs
Profile Name | ~ enter profile name
|  | Total Summer/Wet load (kWh/day) | [6 empty] | 13.8126 |  | Total continuous demand (kVA) |  |  |  | 0
|  | Total Spring/Autumn/Shoulder load (kWh/day) | [6 empty] | 9.6126 |  | Total surge demand (kVA) |  |  |  | 0
|  | Total Winter/Dry load (kWh/day) | [6 empty] | 10.1846
Load | Qty | Max. Power (W) | Duty Cycle | Only used with excess solar/genset? | Hourly energy (Wh) | Days per week | Hours of use | [14 empty] | Inverter Demand
[7 empty] | Summer / Wet |  |  |  |  | Shoulder |  |  |  |  | Winter / Dry |  |  |  |  | P.F. | Incl. in Max. Cont. Demand? | Contribution to Inverter Max. Continuous Demand (VA) | Surge rating | Incl. in Max. Surge Demand? | Contribution to Inverter Max. Surge Demand (VA)
[7 empty] | 6am to 9am (3hrs) | 9am to 5pm (8hrs) | 5pm to 9pm (4hrs) | 9pm to 6am (9hrs) | Daily energy (kWh) | 6am to 9am (3hrs) | 9am to 5pm (8hrs) | 5pm to 9pm (4hrs) | 9pm to 6am (9hrs) | Daily energy (kWh) | 6am to 9am (3hrs) | 9am to 5pm (8hrs) | 5pm to 9pm (4hrs) | 9pm to 6am (9hrs) | Daily energy (kWh)
Stand-by loads | 1 | 50 | 1 | No | 50 | 7 | 3 | 8 | 4 | 9 | 1.2 | 3 | 8 | 4 | 9 | 1.2 | 3 | 8 | 4 | 9 | 1.2 |  |  | 0 |  |  | 0
Home Office | 1 | 300 | 0.8 | No | 240 | 5 | 0 | 8 | 0 | 0 | 1.3714 | 0 | 8 | 0 | 0 | 1.3714 | 0 | 8 | 0 | 0 | 1.3714 |  |  | 0 |  |  | 0
Water pump | 1 | 700 | 1 | No | 700 | 7 | 3 | 3 | 3 | 3 | 8.4 | 0 | 3 | 3 | 0 | 4.2 | 3 | 0 | 0 | 3 | 4.2 |  |  | 0 |  |  | 0
Fridge | 1 | 200 | 0.3 | No | 60 | 7 | 3 | 8 | 4 | 9 | 1.44 | 3 | 8 | 4 | 9 | 1.44 | 3 | 8 | 4 | 9 | 1.44 |  |  | 0 |  |  | 0
Washing machine | 1 | 701 | 1 | No | 701 | 2 | 0 | 0 | 4 | 0 | 0.80114 | 0 | 0 | 4 | 0 | 0.80114 | 3 | 0 | 4 | 0 | 1.402 |  |  | 0 |  |  | 0
Lights | 10 | 10 | 1 | No | 100 | 7 | 3 | 0 | 0 | 3 | 0.6 | 3 | 0 | 0 | 3 | 0.6 | 3 | 0 | 0 | 3 | 0.6 |  |  | 0 |  |  | 0
15A Welder | 1 | 3500 | 1 | Yes | 3500 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 1 | No | 0 | 7 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 0 |  |  | 0
[12 empty] | Future energy growth factor: | [7 empty] | 1 |  |  | SubTotal: | 0 |  | SubTotal: | 0
[12 empty] | Future max. demand growth factor: | [7 empty] | 1 |  |  | TOTAL | 0 |  | TOTAL | 0
Note on D8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For loads which cycle on and off eg, a washing machine has a peak wattage of 300W but only consumes 100Wh in 1hr, therefore the duty cycle is 0.33. In comparison, a toaster is either on or off, so has a duty cycle of 1.
Note on E8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Contributes to inverter max demand but not load kWh
Note on F8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Qty x Max. Power X Duty Cycle
Note on H8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 6 mins = 0.1hrs

## tech
Designation of months by season |  |  |  | Time periods
Summer/wet | Spring/Autumn/Shoulder | Winter/dry |  | 6am to 9am | 9am to 5pm | 5pm to 9pm | 9pm to 6am
Summer | Shoulder | Winter
December | September | June |  | 6:00 | 9:00 | 17:00 | 21:00
January | October | July |  | 7:00 | 10:00 | 18:00 | 22:00
February | November | August |  | 8:00 | 11:00 | 19:00 | 23:00
| March |  |  |  | 12:00 | 20:00 | 24:00
| April |  |  |  | 13:00 |  | 25:00
| May |  |  |  | 14:00 |  | 26:00
[5 empty] | 15:00 |  | 27:00
[5 empty] | 16:00 |  | 28:00
29:00
(Seasons are fixed for now)
|  |  |  | 3 | 8 | 4 | 9 | # hours in time period.
[6 empty] | total must = | 24
Time Ranges (modal dialog) |  |  |  | (time ranges modal dialog replaces the list above)
Time range | From | To
Range 1 | 6:00 | 9:00
Range 2 | 9:00 | 17:00
Range 3 | 17:00 | 21:00
Range 4 | 21:00 | 6:00
Time ranges (modal dialog)
Time ranges | From | To
Range 1 | 6:00 | 9:00
Range 2 | 9:00 | 17:00
Range 3 | 17:00 | 21:00
Range 4 | 21:00 | 6:00
|  | Start date | End date | Season
January | 1 | 2021-01-01 | 2021-01-31 | #REF!
February | 2 | 2021-02-01 | 2021-02-28 | #REF!
March | 3 | 2021-03-01 | 2021-03-31 | #REF!
April | 4 | 2021-04-01 | 2021-04-30 | #REF!
May | 5 | 2021-05-01 | 2021-05-31 | #REF!
June | 6 | 2021-06-01 | 2021-06-30 | #REF!
July | 7 | 2021-07-01 | 2021-07-31 | #REF!
August | 8 | 2021-08-01 | 2021-08-31 | #REF!
September | 9 | 2021-09-01 | 2021-09-30 | #REF!
October | 10 | 2021-10-01 | 2021-10-31 | #REF!
November | 11 | 2021-11-01 | 2021-11-30 | #REF!
December | 12 | 2021-12-01 | 2021-12-31 | #REF!

## tech2
LOAD | Summer / Wet season run times. If load runs for the full hour, enter 1. If load runs for 30 mins, enter 0.5 | [23 empty] | Spring / Autumn / Shoulder | [23 empty] | Winter / Dry
| 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 0:00 | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00
Stand-by loads | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Home Office | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 171.4286 | 0 | 0 | 0 | 0 | 0 | 0
Water pump | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 700 | 700 | 700 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 525 | 525 | 525 | 525 | 233.3333 | 233.3333 | 233.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 525 | 525 | 525 | 525 | 0 | 0 | 0 | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 233.3333 | 700 | 700 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 233.3333 | 233.3333 | 233.3333
Fridge | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Washing machine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.2857 | 200.2857 | 200.2857 | 200.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.2857 | 200.2857 | 200.2857 | 200.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.2857 | 200.2857 | 200.2857 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200.2857 | 200.2857 | 200.2857 | 0 | 0 | 0
Lights | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 33.3333 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.3333 | 33.3333 | 33.3333
15A Welder | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtotal: | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 910 | 910 | 910 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 835.2857 | 835.2857 | 835.2857 | 835.2857 | 376.6667 | 376.6667 | 376.6667 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 210 | 210 | 210 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 835.2857 | 835.2857 | 835.2857 | 835.2857 | 143.3333 | 143.3333 | 143.3333 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 1110.2857 | 1110.2857 | 1110.2857 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 310.2857 | 310.2857 | 310.2857 | 376.6667 | 376.6667 | 376.6667
Total inc growth factor | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 910 | 910 | 910 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 835.2857 | 835.2857 | 835.2857 | 835.2857 | 376.6667 | 376.6667 | 376.6667 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 143.3333 | 210 | 210 | 210 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 543.9286 | 835.2857 | 835.2857 | 835.2857 | 835.2857 | 143.3333 | 143.3333 | 143.3333 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 376.6667 | 1110.2857 | 1110.2857 | 1110.2857 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 281.4286 | 310.2857 | 310.2857 | 310.2857 | 376.6667 | 376.6667 | 376.6667
ToTAL kWh | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 0.91 | 0.91 | 0.91 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.83529 | 0.83529 | 0.83529 | 0.83529 | 0.37667 | 0.37667 | 0.37667 | 0.14333 | 0.14333 | 0.14333 | 0.14333 | 0.14333 | 0.14333 | 0.21 | 0.21 | 0.21 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.54393 | 0.83529 | 0.83529 | 0.83529 | 0.83529 | 0.14333 | 0.14333 | 0.14333 | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 0.37667 | 1.1103 | 1.1103 | 1.1103 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.28143 | 0.31029 | 0.31029 | 0.31029 | 0.37667 | 0.37667 | 0.37667
| Subtotal summer daily kWh |  |  |  | 13.8126 | [19 empty] | Subtotal shoulder daily kWh |  |  |  |  | 9.6126 | [18 empty] | Subtotal winter daily kWh |  |  |  |  | 10.1846
| Total inc growth factor |  |  |  | 13.8126 | [19 empty] | Total inc growth factor |  |  |  |  | 9.6126 | [18 empty] | Total inc growth factor |  |  |  |  | 10.1846